## DMo
Normunit | CZ | Value | Msr | Note
Area-ft2-BA | Any | 2480
Area-ft2 | Any | 2174.56 | Wall Insulation
Area-ft2 | Any | 2480 | Ceiling Insulation
kWhreduced | Any | 800 | Refrigerator/Freezer
Cap-Tons | Any | 3.5 | SEER Rated AC/HP | Using sizing capacity from pre-existing base prototype

## MFm
Normunit | CZ | Value | Msr | BldgVint | Note
Area-ft2-BA | Any | 24580
Area-ft2 | Any | 5747.061 | Wall Insulation
Area-ft2 | Any | 24580 | Ceiling Insulation
Cap-Tons | CZ01 | 19.45 | PTAC / PTHP | Ex
Cap-Tons | CZ02 | 22.32 | PTAC / PTHP | Ex
Cap-Tons | CZ03 | 24.49 | PTAC / PTHP | Ex
Cap-Tons | CZ04 | 23.49 | PTAC / PTHP | Ex
Cap-Tons | CZ05 | 23.88 | PTAC / PTHP | Ex
Cap-Tons | CZ06 | 23.79 | PTAC / PTHP | Ex
Cap-Tons | CZ07 | 22.48 | PTAC / PTHP | Ex
Cap-Tons | CZ08 | 27.59 | PTAC / PTHP | Ex
Cap-Tons | CZ09 | 35.33 | PTAC / PTHP | Ex
Cap-Tons | CZ10 | 31.18 | PTAC / PTHP | Ex
Cap-Tons | CZ11 | 36.97 | PTAC / PTHP | Ex
Cap-Tons | CZ12 | 29.91 | PTAC / PTHP | Ex
Cap-Tons | CZ13 | 44.48 | PTAC / PTHP | Ex
Cap-Tons | CZ14 | 36.1 | PTAC / PTHP | Ex
Cap-Tons | CZ15 | 46.7 | PTAC / PTHP | Ex
Cap-Tons | CZ16 | 37.62 | PTAC / PTHP | Ex
Cap-Tons | CZ01 | 19.43 | PTAC / PTHP | New
Cap-Tons | CZ02 | 13.44 | PTAC / PTHP | New
Cap-Tons | CZ03 | 22.69 | PTAC / PTHP | New
Cap-Tons | CZ04 | 13.62 | PTAC / PTHP | New
Cap-Tons | CZ05 | 20.22 | PTAC / PTHP | New
Cap-Tons | CZ06 | 13.48 | PTAC / PTHP | New
Cap-Tons | CZ07 | 15.22 | PTAC / PTHP | New
Cap-Tons | CZ08 | 15.68 | PTAC / PTHP | New
Cap-Tons | CZ09 | 18.98 | PTAC / PTHP | New
Cap-Tons | CZ10 | 17.15 | PTAC / PTHP | New
Cap-Tons | CZ11 | 22.04 | PTAC / PTHP | New
Cap-Tons | CZ12 | 16.99 | PTAC / PTHP | New
Cap-Tons | CZ13 | 24.01 | PTAC / PTHP | New
Cap-Tons | CZ14 | 18.54 | PTAC / PTHP | New
Cap-Tons | CZ15 | 31.11 | PTAC / PTHP | New
Cap-Tons | CZ16 | 32.06 | PTAC / PTHP | New
kWhreduced | Any | 9600 | Refrigerator/Freezer
Cap-Tons | CZ01 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ02 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ03 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ04 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ05 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ06 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ07 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ08 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ09 | 2.5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ10 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ11 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ12 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ13 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ14 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ15 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ16 | 3 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype

## SFm
Normunit | CZ | Value | Msr | BldgVint | Note
Area-ft2-BA | CZ01 | 4320
Area-ft2-BA | CZ02 | 4320
Area-ft2-BA | CZ03 | 4320
Area-ft2-BA | CZ04 | 4320
Area-ft2-BA | CZ05 | 4320
Area-ft2-BA | CZ06 | 4500
Area-ft2-BA | CZ07 | 4500
Area-ft2-BA | CZ08 | 4500
Area-ft2-BA | CZ09 | 3850
Area-ft2-BA | CZ10 | 4140
Area-ft2-BA | CZ11 | 3570
Area-ft2-BA | CZ12 | 3570
Area-ft2-BA | CZ13 | 3570
Area-ft2-BA | CZ14 | 3250
Area-ft2-BA | CZ15 | 3250
Area-ft2-BA | CZ16 | 3800
Area-ft2 | CZ01 | 2884 | Wall Insulation
Area-ft2 | CZ02 | 2884 | Wall Insulation
Area-ft2 | CZ03 | 2884 | Wall Insulation
Area-ft2 | CZ04 | 2884 | Wall Insulation
Area-ft2 | CZ05 | 2884 | Wall Insulation
Area-ft2 | CZ06 | 3060 | Wall Insulation
Area-ft2 | CZ07 | 3060 | Wall Insulation
Area-ft2 | CZ08 | 3060 | Wall Insulation
Area-ft2 | CZ09 | 2454 | Wall Insulation
Area-ft2 | CZ10 | 2718 | Wall Insulation
Area-ft2 | CZ11 | 2194 | Wall Insulation
Area-ft2 | CZ12 | 2194 | Wall Insulation
Area-ft2 | CZ13 | 2194 | Wall Insulation
Area-ft2 | CZ14 | 1893 | Wall Insulation
Area-ft2 | CZ15 | 1893 | Wall Insulation
Area-ft2 | CZ16 | 2403 | Wall Insulation
Area-ft2 | CZ01 | 2910 | Ceiling Insulation
Area-ft2 | CZ02 | 2910 | Ceiling Insulation
Area-ft2 | CZ03 | 2910 | Ceiling Insulation
Area-ft2 | CZ04 | 2910 | Ceiling Insulation
Area-ft2 | CZ05 | 2910 | Ceiling Insulation
Area-ft2 | CZ06 | 2910 | Ceiling Insulation
Area-ft2 | CZ07 | 2910 | Ceiling Insulation
Area-ft2 | CZ08 | 2910 | Ceiling Insulation
Area-ft2 | CZ09 | 2910 | Ceiling Insulation
Area-ft2 | CZ10 | 2910 | Ceiling Insulation
Area-ft2 | CZ11 | 2910 | Ceiling Insulation
Area-ft2 | CZ12 | 2910 | Ceiling Insulation
Area-ft2 | CZ13 | 2910 | Ceiling Insulation
Area-ft2 | CZ14 | 2910 | Ceiling Insulation
Area-ft2 | CZ15 | 2910 | Ceiling Insulation
Area-ft2 | CZ16 | 2910 | Ceiling Insulation
Cap-Tons | CZ01 | 3.4 | PTAC / PTHP | Ex
Cap-Tons | CZ02 | 6.3 | PTAC / PTHP | Ex
Cap-Tons | CZ03 | 6.8 | PTAC / PTHP | Ex
Cap-Tons | CZ04 | 6.2 | PTAC / PTHP | Ex
Cap-Tons | CZ05 | 7.1 | PTAC / PTHP | Ex
Cap-Tons | CZ06 | 6.1 | PTAC / PTHP | Ex
Cap-Tons | CZ07 | 6.3 | PTAC / PTHP | Ex
Cap-Tons | CZ08 | 6.6 | PTAC / PTHP | Ex
Cap-Tons | CZ09 | 8.5 | PTAC / PTHP | Ex
Cap-Tons | CZ10 | 4.6 | PTAC / PTHP | Ex
Cap-Tons | CZ11 | 4.1 | PTAC / PTHP | Ex
Cap-Tons | CZ12 | 4.1 | PTAC / PTHP | Ex
Cap-Tons | CZ13 | 4.5 | PTAC / PTHP | Ex
Cap-Tons | CZ14 | 3.5 | PTAC / PTHP | Ex
Cap-Tons | CZ15 | 4.5 | PTAC / PTHP | Ex
Cap-Tons | CZ16 | 4.3 | PTAC / PTHP | Ex
Cap-Tons | CZ01 | 1.7 | PTAC / PTHP | New
Cap-Tons | CZ02 | 1.6 | PTAC / PTHP | New
Cap-Tons | CZ03 | 2.8 | PTAC / PTHP | New
Cap-Tons | CZ04 | 1.8 | PTAC / PTHP | New
Cap-Tons | CZ05 | 2.8 | PTAC / PTHP | New
Cap-Tons | CZ06 | 2.3 | PTAC / PTHP | New
Cap-Tons | CZ07 | 2.9 | PTAC / PTHP | New
Cap-Tons | CZ08 | 2.8 | PTAC / PTHP | New
Cap-Tons | CZ09 | 3.4 | PTAC / PTHP | New
Cap-Tons | CZ10 | 2.1 | PTAC / PTHP | New
Cap-Tons | CZ11 | 2.4 | PTAC / PTHP | New
Cap-Tons | CZ12 | 2.3 | PTAC / PTHP | New
Cap-Tons | CZ13 | 2.5 | PTAC / PTHP | New
Cap-Tons | CZ14 | 1.7 | PTAC / PTHP | New
Cap-Tons | CZ15 | 2.6 | PTAC / PTHP | New
Cap-Tons | CZ16 | 3.4 | PTAC / PTHP | New
Household | Any | 2 | Whole House Fan
kWhreduced | Any | 800 | Refrigerator/Freezer
Cap-Tons | CZ01 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ02 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ03 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ04 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ05 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ06 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ07 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ08 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ09 | 4 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ10 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ11 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ12 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ13 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ14 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ15 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype
Cap-Tons | CZ16 | 5 | SEER Rated AC/HP |  | Using sizing capacity from pre-existing base prototype

## Com
BldgType | BldgLoc | Normunit | total_area_m2 | conditioned_area_m2 | Value | BldgVint | Note
Asm |  | Area-ft2-BA | 6318.03 |  | 68006.7088 |  | area value in ft2
ECC |  | Area-ft2-BA | 26402.36 |  | 284192.6374
EPr |  | Area-ft2-BA | 3785.38 |  | 40745.4911
ERC |  | Area-ft2-BA | 267.89 |  | 2883.544
ESe |  | Area-ft2-BA | 6912.2 |  | 74402.3015
EUn |  | Area-ft2-BA | 79690.97 |  | 857786.4608
Fin |  | Area-ft2-BA | 334.45 |  | 3599.9898
Gro |  | Area-ft2-BA | 4644.87 |  | 49996.9645
Hsp |  | Area-ft2-BA | 45899.29 |  | 494055.845
Htl |  | Area-ft2-BA | 12738.56 |  | 137116.7185
Lib |  | Area-ft2-BA | 929.03 |  | 9999.9957
MBT |  | Area-ft2-BA | 37156.35 |  | 399947.6222
MLI |  | Area-ft2-BA | 9291.61 |  | 100014.0575
Mtl |  | Area-ft2-BA | 2785.81 |  | 29986.2092
Nrs |  | Area-ft2-BA | 10312.12 |  | 110998.7357
OfL |  | Area-ft2-BA | 32508.63 |  | 349919.9805
OfS |  | Area-ft2-BA | 1858.49 |  | 20004.6198
Rel |  | Area-ft2-BA | 1858.04 |  | 19999.7761
RFF |  | Area-ft2-BA | 371.26 |  | 3996.2094
RSD |  | Area-ft2-BA | 1040.99 |  | 11205.1231
Rt3 |  | Area-ft2-BA | 22296.73 |  | 240000.0039
RtL |  | Area-ft2-BA | 12123.99 |  | 130501.5421
RtS |  | Area-ft2-BA | 1486.69 |  | 16002.598
SCn |  | Area-ft2-BA | 46450.63 |  | 499990.4193
SUn |  | Area-ft2-BA | 46450.63 |  | 499990.4193 |  | conditioned area is 0
WRf |  | Area-ft2-BA | 46450.63 |  | 499990.4193
Any |  | Each |  |  | 1 |  | added 7/18/2024 to accommodate Normunit = Each
Note on D1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Comes from modelkit query.txt lookup